## Slide 1: The Mu2e Experiment at Fermilab David Hitlin Caltech INSTR2014 February 25, 2014

## Slide 2
Initial state: muonic atom
Final state:
  a single mono-energetic electron.
    the energy depends on Z of target.
  recoiling nucleus is not observed
    the process is coherent: the nucleus stays intact.
  neutrino-less
Standard Model rate is 10-54
There is an observable rate in many new physics scenarios.
Related decays: Charged Lepton Flavor Violation (CLFV):
Muon to electron conversion in the field of a nucleus
e-

## Slide 3: New Physics Scenarios
M. Raidal, et al., Flavour Physics of Leptons and Dipole Moments, Eur.Phys.J. C57, 13, 2008
Sensitive to mass scales up to O (104 TeV)

## Slide 4
CLFV has actually been seen in California

## Slide 5: Two types of amplitudes contribute
μN→eN
μ→eγ
μ→eee
Loops
Contact terms
μN→eN
μ→eγ
μ→eee
Effective Lagrangian

## Slide 6: Sensitivity to high mass scales
μN→eN
μ→eγ
μ→eee
Loops dominate for κ << 1
Contact terms dominate for κ >> 1
μN→eN
μ→eγ
μ→eee
A. DeGouvea
κ
L (TeV)

## Slide 7: Complementarity with the LHC
If new physics is seen at the LHC
  Need CLFV measurements (Mu2e and others) to discriminate among interpretations
If new physics is not seen at the LHC
  Mu2e has discovery reach to mass scales that are inaccessible to the the LHC

## Slide 8: The dominant background: muon decay in orbit (DIOs)
DIO tail
mμ
free muon decay
DIO
mμ
mμ /2
reconstructed momentum (MeV)

## Slide 9: Resolution effects extend the DIO endpoint into the signal region
Czarnecki, Tormo, Marciano, Phys.Rev. D84, 013006, 2011)
The tail of the DIOs falls as (EEndpoint – Ee)5
Separation of a few hundred keV for Rμe = 10-16
resolution effects
mμ
mμ

## Slide 10: Mu2e in one page
Al nuclear radius ≈ 4 fm
Make muonic Al.
Watch it decay:
  Decay-in-orbit (DIO): 40%
    Continuous Ee spectrum.
  Muon capture on nucleus: 60%
    Nuclear breakup: p, n, γ
  Neutrino-less μ to e conversion
    Mono-energetic Ee ≈ 105 MeV
    At endpoint of continuous spectrum.
Measure Ee spectrum.
Is there an excess at the endpoint?
Quantitatively understand backgrounds
Bohr radius ≈ 20 fm
Lifetime: 864 ns

## Slide 11: The Mu2e Collaboration
Boston University
Brookhaven National Laboratory
University of California, Berkeley and
Lawrence Berkeley National Laboratory
University of California, Irvine
California Institute of Technology
City University of New York
Duke University
Fermilab
University of Houston
University of Illinois, Urbana-Champaign
Lewis University
University of Massachusetts, Amherst
Muons, Inc.
Northern Illinois University
Northwestern University
Pacific Northwest National Laboratory
Purdue University
Rice University
University of Virginia
University of Washington, Seattle
Laboratori Nazionale di Frascati
INFN Genova
INFN Lecce and Università del Salento
Istituto G. Marconi Roma
INFN,, Pisa
Universita di Udine and INFN Trieste/Udine
JINR, Dubna
Institute for Nuclear Research, Moscow
135 members from 28 institutions
About half of us: Nov 2013
  http://mu2e.fnal.gov
Notes: Replace with new photo and institution list

## Slide 12: The measurement
Numerator:
  Do we see an excess at the Ee end point?
Denominator:
  All nuclear captures of muonic Al atoms
Design sensitivity for a 3 year run
  ≈ 2.5 ×10-17 single event sensitivity.
  < 6 ×10-17 limit at 90% C.L.
Factor of 104 improvement over current limit (SINDRUM II)

## Slide 13: Proton delivery
The two new muon experiments will reuse Tevatron-era infrastructure
Mu2e has worked with the new muon g-2 project to develop an accelerator and beamline design that works well for both experiments
  Only one experiment can run at one time
Either experiment can run simultaneously with NOnA
With the envisioned longer term Proton Improvement Project (PIP-II), 10x the beam intensity can be obtained

## Slide 14: mu2e has three large superconducting solenoid systems
Production
Solenoid (PS)
Transport Solenoid (TS)
Detector Solenoid (DS)
4.6 T
2.5 T
2.0 T
Detector region:
uniform field 1T
1.0 T
Graded B field for most of length
Proton Beam

## Slide 15: Backward travelling muon beam
proton beam
production target
PS: magnetic mirror
4.6 T
2.5 T
collimators
TS: negative gradient and charge selection at the central collimator
to dump
to stopping target and detector
2.5 T
2.0 T

## Slide 16: Stopping target and detectors
strawtube tracker
foil stopping targets
BaF2 calorimeter
incoming muon beam < KE > = 7.6 MeV
field gradient

## Slide 17: Detector solenoid is surrounded by a cosmic ray veto (CRV)
CRV-T
CRV-L
CRV-D
CRV-R
CRV-U
Four layers of extruded plastic scintillator
Fiber/SiPM readout (neutron damage is an issue)
Al and concrete shielding
Correlated hits are a concern

## Slide 18: CRV inefficiency requirement

## Slide 19: Stopping target
Pulse of low energy μ- on thin Al foils
~50% are captured to form muonic Al
~0.0016 stopped μ- per proton on production target
DIO and conversion electrons pop out of target foils
Baseline
17 target foils
each 200 microns thick
5 cm spacing
radius:
  ≈10. cm upstream
  ≈6.5 cm downstream
Optimization is ongoing
μ-
μ-
μ-
μ-
μ-
μ-
μ-
μ-
e-

## Slide 20: One cycle of the muon beamline
μ are accompanied by e-, e+, π, anti-protons …
  these create prompt backgrounds
  strategy: wait for them to decay.
extinction = (# protons between bunches)/(protons per bunch)
  requirement: extinction < 10-10
selection window, defined at center plane of the tracker
Proton pulse arrival at production target
shapes are schematic, for clarity

## Slide 21: Tracker: strawtubes operating in vacuum
Panel: 2 layers, 48 straws each
Plane: 6 self supporting panels
1
2
Straws: 5 mm OD; 15 mm metalized mylar wall.
3
Custom ASIC for time division: σ ≈ 5 mm at straw center

## Slide 22: Tracker: strawtubes in vacuum
4
5
Station: 2 planes; relative rotation under study
Tracker: 22 stations (# and rotations still being optimized)

## Slide 23: How do you measure 2.5×10-17 ?
no hits in tracker
reconstructable tracks
some hits tracker, tracks not reconstructable.
beam’s-eye view of the tracker

## Slide 24: Signal sensitivity for a 3 Year Run
Reconstructed e- momentum
Stopped μ: 5. 8 × 1017
For R = 10-16
Nμe = 3.94 ± 0.03
NDIO = 0.19 ± 0.01
NOther = 0.19
SES = (2.5 ± 0.1) × 10-17
Errors are statistical only

## Slide 25: Scintillating crystal calorimeter
Two disk geometry
Hexagonal BaF2 crystals; APD or SiPM readout
Provides precise timing, PID, background rejection, alternate track seed and possible calibration trigger.

## Slide 26: Calorimeter crystal history
Initial choice PbWO4: small X0, low light yield, low temperature operation, temperature and rate dependence of light output
CDR choice LYSO: small X0, high light yield, expensive (→very expensive)
TDR choice: BaF2: larger X0, lower light yield (in the UV), very fast component at 220 nm, readout R&D required, cheaper,
See Friday presentation

## Slide 27: Backgrounds
Stopped muon-induced
  muon decay in orbit (DIO)
Out of time protons or long transit-time secondaries
  radiative pion capture; muon decay in flight
  pion decay in flight; beam electrons
  anti-protons
Secondaries from cosmic rays
Mitigation:
  excellent momentum resolution
  excellent extinction plus delayed measurement window
  thin window at center of TS to absorb anti-protons
  extreme care in shielding and veto

## Slide 28: The “Ralf event”
In massive MC runs to optimize the CRV, an event was found that evaded the CRV, passed through the target and the tracker, and stopped in the calorimeter
The calorimeter, however, provides substantial additional background rejection, through m/e PID, with a combination of timing information and E/p

## Slide 29: Backgrounds for a 3 Year Run
Source | Events | Comment
 | 0.20 ± 0.06 | 
Anti-proton capture | 0.10 ± 0.06 | 
Radiative π- capture* | 0.04 ± 0.02 | from protons during detection time
Beam electrons* | 0.001 ± 0.001 | 
μ decay in flight* | 0.010 ± 0.005 | with e- scatter in target
Cosmic ray induced | 0.050 ± 0.013 | assumes 10-4 veto inefficiency
Total | 0.4 ± 0.1 | 
* scales with extinction: values in table assume extinction = 10-10
All values preliminary; some are statistical error only.

## Slide 30: Mu2e schedule
Calendar Year
Solenoid design, construction and commissioning are the critical path
Today
assemble and commission the detector:

## Slide 31: The mu2e experimental program has a branch point
If there is a signal:
  Study Z dependence: distinguish among BSM theories
  Options limited now that the programmable time structure of the proposed Project X beam is no longer anticipated
If there is no signal:
  Up to to 10× Mu2e physics reach, Rμe < a few × 10-18
  Can use the same detector, some modifications
Both programs can be done with the existing accelerator complex.
  Both could be done faster with more protons from PIP II

## Slide 32: FNAL accelerator complex
Proton Improvement Plan (PIP)
  Improve beam power to meet NOnA requirements
  Essentially complete.
PIP-II design underway
  Project-X reimagined to match funding constraints
  1+ MW to LBNE at startup (2025)
  Flexible design to allow future realization of the full potential of the FNAL accelerator complex
    ~2 MW to LBNE
    10× the protons to Mu2e
    MW-class, high duty factor beams for rare process experiments

## Slide 33: Summary and conclusions
mu2e will either discover μ to e conversion or set a greatly improved limit
  Rμe < 6 × 10-17 @ 90% CL.
  104 improvement over previous best limit
  Mass scales to O(104 TeV) are within reach
Schedule:
  Final review ~May 2014; expect approval ~July 2014
  Construction start fall 2014
  Installation and commissioning in 2019
  Solenoid system is the critical path
mu2e is a program:
  If there is a signal we will study the A,Z dependence of Rμe to elucidate the underlying BSM physics
  If there is no signal we will be able to improve the experimental sensitivity up to a factor of 10

## Slide 35: For Further Information
Mu2e:
  Home page: http://mu2e.fnal.gov
  CDR: http://arxiv.org/abs/1211.7019
  DocDB: http://mu2e-docdb.fnal.gov/cgi-bin/DocumentDatabase
PIP-II
  Steve Holmes’ talk to P5 at BNL, Dec 16, 2013 https://indico.bnl.gov/getFile.py/access?contribId=11&sessionId=5&resId=0&materialId=slides&confId=680
  Conceptual Plan:http://projectx-docdb.fnal.gov/cgi-bin/ShowDocument?docid=1232

## Slide 36: Not Covered in This Talk
Pipelined, deadtime-less trigger system
Cosmic ray veto system
Stopping target monitor
  Ge detector, behind muon beam dump
Details of proton delivery
AC dipole in transfer line; increase extinction
In-line extinction measurement devices
Extinction monitor near proton beam dump
Muon beam dump
Singles rates and radiation damage due to neutrons from production target, collimators and stopping target.

## Slide 37: Fermilab Muon Program
Mu2e
Muon g-2
Muon Accelerator Program (MAP):
  MuCool – ionization cooling demonstration
  Other R&D towards a muon collider
NuStorm
  Proposal has Stage I approval from FNAL PAC
Preliminary studies for Project-X era:
  μ+ e+ γ
  μ+ e+ e- e+
All envisage x10 or better over previous best experiments

## Slide 38: Schematic of one cycle of the muon beamline
No real overlap between selection window and the second proton pulse!
  Proton times: when protons arrive at production target
  Selection window: measured tracks pass the mid-plane of the tracker
Selection window, defined at center plane of the tracker
Proton pulse

## Slide 39: The previous best experiment
SINDRUM II
Rμe < 6.1×10-13 @90% CL
2 events in signal region
Au target: different Ee endpoint than Al.
W. Bertl et al, Eur. Phys. J. C 47, 337-346 (2006)
HEP 2001 W. Bertl – SINDRUM II Collab

## Slide 40: SINDRUM II Ti Result
SINDRUM-II
Rμe(Ti) < 6.1X10-13
PANIC 96 (C96-05-22)
Rμe(Ti) < 4.3X10-12
Phys.Lett. B317 (1993)
Rμe(Au) < 7X10-13
Eur. Phys. J. , C47 (2006)
Dominant background: beam π-
Radiative pion Capture (RPC), suppressed with prompt veto
Cosmic ray backgrounds were also important

## Slide 41: Why is mu2e more sensitive than SINDRUM II?
FNAL can deliver ≈103 × proton intensity.
Higher μ collection efficiency.
SINDRUM II was background-limited.
  Radiative π capture.
  Bunched beam and excellent extinction reduce this.
  Thus mu2e can make use of the higher proton rate.

## Slide 42: Muon Momentum
Muon Momentum at First Target
<p> ≈ 40 MeV
<Kinetic Energy> ≈7.6 MeV

## Slide 43: Capture and DIO vs Z
Al

## Slide 44: Conversion Rate, Normalized to Al

## Slide 45: CLFV Rates in the Standard Model
With massive neutrinos, non-zero rate in SM.
Too small to observe.

## Slide 46: Proton Beam Macro Structure

## Slide 47: Proton Beam Micro Structure
Slow spill:
Bunch of 4 ×107 protons every 1694 ns

## Slide 48: Required Extinction 10-10
Internal: 10-7 already demonstrated at AGS.
  Without using all of the tricks.
External: in transfer-line between ring and production target.
  AC dipole magnets and collimators.
Simulations predict aggregate 10-12 is achievable
Extinction monitoring systems have been designed.

## Slide 49: Project X
Accelerator Reference Design: physics.acc-ph:1306.5022
Physics Opportunities: hep-ex:1306.5009
Broader Impacts: physics.acc-ph:1306.5024

## Slide 50: Mu2e in the Project-X Era
If we have a signal:
  Study Z dependence: distinguish among theories
  Enabled by the programmable time structure of the Project X beam: match pulse spacing to lifetime of the muonic atom!
If we have no signal:
  Up to to 100 × Mu2e physics reach, Rμe < 10-18 .
  First factor of ≈10 can use the same detector.