## Slide 1
1
Beam Diagnostics
Overview for CR
Yury Rogovsky
BINP, Novosibirsk
International Workshop on Antiproton Physics
and Technology at FAIR
17.11.2015

## Slide 2
Collector Ring layout
2
 | Antiprotons | Ions
Perimeter, П | 221.451 m | 
Rigidity, B | 13 Tm | 
Number of particles, N | 108 | 109
Kinetic energy, K | 3 GeV | 740 MeV/u
Velocity, v | 0.971c | 0.830c
Relativistic factor ,  | 4.20 | 1.79
Betatron tunes, x, y | 4.39, 3.42 | 3.40, 3.44
Revolution frequency, 0 | 1.35 MHz | 1.16 MHz
RF harmonic, q | 1 | 
CR lattice is kind
of two fold symmetric, but it is not.
Changes in lattice was
done to fit with
requirements

## Slide 3
Beam Diagnostics available for CR
3
Project | PSP | Descr | Numb | Types
CR | 2.5.6 | Beam Diagnostics |  | 
CR | 2.5.6.1 | Current Measurement |  | 
CR | 2.5.6.1.1 | DC Transformer | 1 | 1
CR | 2.5.6.1.3 | Cryogenic Current Comparator | 1 | 1
CR | 2.5.6.2 | Beam Position Monitors |  | 
CR | 2.5.6.2.1 | BPM Warm Sections | 18 | 2
CR | 2.5.6.3 | Tune and longitudinal Diagnostics |  | 
CR | 2.5.6.3.1 | Tune BTF Exciter | 1 | 1
CR | 2.5.6.3.2 | Schottky Pick Up | 1 | 1
CR | 2.5.6.3.4 | Fast Current Transformer | 1 | 1
CR | 2.5.6.4 | Residual Gas Profile Monitor |  | 
CR | 2.5.6.4.1 | Residual Gas Profile Monitor | 2 | 1
CR | 2.5.6.5 | Beam Loss System |  | 
CR | 2.5.6.5.1 | Beam Loss Monitor | distributed | 
CR | 2.5.6.6 | First Turn Diagnostics |  | 
CR | 2.5.6.6.1 | Scintillation Screen | 5 | 2
CR | 2.5.6.6.2 | SEM-Grid | removed | -
CR | 2.5.6.6.3 | Beam Stopper | 1 | 
CR | 2.5.6.7 | Scraper |  | 
CR | 2.5.6.7.1 | Horizontal Scraper | 5 x 2 | 2
CR | 2.5.6.7.2 | Vertical Scraper | 5 x 2 | 2
CR |  | Experimental devices | 2-4 (?) | 4

## Slide 4
Beam Diagnostics layout @ Collector Ring
4
Scint. Screen
BTF, BB Schtottky
Scint. Screen
CCC, RGM
DCCTFCT
BPM
BPM
BPM
BPM
BPM
BPM
BPM
BPM
BPM
BPM
BPM
Scrapper
Scrapper
Scrapper
Scrapper
Scint. Screen
Scint. Screen
Scrapper
BPM
BPM
BPM
BPM
BPM
Scint. Screen

## Slide 5
BD layout @ CR lattice functions
5
Beam Sizes: pbar @ top; rib @ bottom;
(1) – Screen; (2) – BPM; (3) – Scrapper; (4) – BTF & BB Schottky; (5) – DCCT & FCT; (6) – RGM;
(2)
(1)
(2)
(2)
(3)
(4)
(2)
(1)
(2)
(2)
(3)
(2)
(2)
(3)
(1)
(2)
(5)
(6)

## Slide 6
BD @ CR commissioning
6
 | Low intensity (ions) | High intensity (pions) | Measured quantity
BPM | - | + | intensity, deviation
Schot. reson. | + | + | intensity
BLM | + | + | losses
Screens | + | - | intensity, transv. profile
SEM | - | + | intensity, transv. profile
Beam stopper | + | - | intensity
Scraper |  |  | losses (together with BLM)
FCT | - | + | intensity, long. profile
Assuming single injection and we have
to guarantee that beam goes at least one turn
Intensity ranges:
low intensity (< 1 mA)
intermediate intensity
high intensity (>1 mA)
For antiprotons a low intensity is expected,
but because it will be “supported” by pions
the beam can be considered as high intensity.
What will be the first beam in the CR?
Screens, BLM can be optimized
for both pbar and ions?
Task of Beam diagnostics :
to detect the “presence” of the beam
to diagnose at which location the beam is lost
10^8 antiprotons: 20 uA average current
10^9 ions: 16 mA average current

## Slide 7
BD @ CR stable operation
7
1/Bunching factor
(1/duty cycle)
15
3
1
15
 | Bunch rotation | Debunching | Cooling | Rebunching | Extraction | Measured quantity
BPM | + | + | - | + | + | Closed orbit
FCT | + | + | - | + | + | Bunch long. profile
DCT, CCC | + | + | + | + | + | DC current
RGM | - | - | + | - | - | Transv. profile
Schottky resonator | - | - | + | - | - | Momentum distr.

## Slide 8
BD @ CR stable operation
8
 | Plateau 1 | Plateau 2 | Plateau 3 | Application
Exciter + Scrapers + BLM + DCT /CCC | + | + | - | Apperture and acceptance studies, Halo detection
Exciter + BPM / Reson. | - | - | + | Chromaticity, Tunes
FCT | + | + | + | RF test
BPM | + | + | + | Closed orbit
plateau 2
plateau 3
plateau 1
(also without RF)
1/Bunching factor
(1/duty cycle)
15
3
1
15

## Slide 9
DCCT and FCT (commercially available)
9

## Slide 10
Ionization Profile Monitor aka RGM
10
For P = 10-9 mbar, T = 300 K, n = 2.7∙107 cm-3.
For Ϭion = 10-18 cm2, N = 108 and detector length L = 5 cm ion frequency is 1.5∙104 Hz.
IPM principle
Profile measured for 1000 ions

## Slide 11
Variants for IPM detector
11
1. After MCP electrons move to phosphor screen. Picture from screen is red by CCD camera.
2. After MCP electrons move to resistive plate. Position of electron cloud is measured by difference in charge in two ends of the plate.
The advantage of this approach is a total elimination of the transformation of particle flux to light, which, due to the reflections can lead to spurious peaks in the measured profile.

## Slide 12
Electronics for resistive plates variant
12
Current measured from both sides of the plate (simulation)
Structure of readout electronics for resistive plate detector

## Slide 13
IPM construction
13
IPM with phosphor screen

## Slide 14
Fluorescent screen aka Scintillator screen
14
Beam
Pneumatic actuator
Screen is moved by pneumatic actuator as a “semaphore”. The screens have two different apertures ( 200 mm and 400 mm) and the same design.
Light to lens and CCD camera
Screen is parked

## Slide 15
Fluorescent screen & equipment
15
Beam
Light to lens and CCD camera
Objective lens Tamron M118FM25
Resolution | 1280 × 960
Max frame rate at full resolution | 32 fps
Type | CCD Progressive
Interface | IEEE 802.3 1000baseT
A/D | 12 bit
Output | 8/12 bit
Sensor Size | Type 1/3
Sensor | Sony ICX445
Cell size | 3.75 µm
On-board FIFO | 16 MB
Body Dimensions (L×W×H in mm) | 33×46×59 including connect., w/o tripod and lens
Imager Size | 1/1.8
Mount Type | 1200 N
Focal Length | 800 N
Aperture Range | 100 mm
Angle of View (hor×ver) | 16.6°×12.5°
TV Distortion | less than 0.2%
Focusing Range | 0.1 m – ∞
Operation | Manual with lock
Filter Size | M25.5 P=0.5 mm
Back Focus(in air) | 12.92 mm
Weight | 39 g
Operating Temperature | –10°C – +60°C

## Slide 16
Fluorescent screen & phosphors coating
16
Light yield for phosphors, measured with 350 MeV electrons @ VEPP4M

## Slide 17
Fluorescent screen & DAQ, UI
17
CPUID – Control Unit for Profile and Image DATA
GUI screenshot during one of the measurements
courtesy: O. Chorniy, LOBI/GSI
Comissioning this year, during beam time at GSI

## Slide 18
Beam Scrapper
18
The scrappers, as well as screens, have a same design for two different apertures. Each scrapper has 4 blades. The twosome blades restrict the beam aperture at X and Y directions.

## Slide 19
BPM geometry
19
Linear cut type BPM is advantageous for beams that are transversally large and have a complex charge distribution
Available space between elements in CR (about 630 mm) leaves up to 250 mm length for BPM electrodes for X/Z direction
Horizontal an vertical plates in series
The aperture of the BPM plates is close to the aperture of the nearby quadrupole chamber
BPM plates are mounted into special casing which helps to form all needed parameters and prevent from mechanical displacement
BPM is located at round chamber with 450 mm diameter

## Slide 20
BPM model (draft)
20

## Slide 21
Simulations
21
All simulations was done using HFSS code
Pbar beam was simulated as 2 mm diameter wire
Electrodes were defined as S-parameter ports with impedance equal (or close) to 50 Ohm
The map between electrode signals and wire positions and displacement sensitivity was calculated using S-parameter in frequency domain
Frequency range up to 100 MHz and more
The simulations was done for almost full aperture of BPM
The geometrical design of all BPMs was optimized

## Slide 22
Optimization criteria
22
Using well known linear formula
where
dx – electrical center offset,
Kx – BPM scale constant
dS/Sum(S) – difference over sum ratio (or electrical beam position)
x – real beam position
Displacement sensitivity maximization
Linearity of position determination
Offset of electrical center minimization
Capacity and coupling minimization

## Slide 23
Optimizations (batch 1)
23

## Slide 24
Optimizations (batch 2)
24

## Slide 25
Optimizations (batch 4)
25

## Slide 26
Variant 5: Transfer functions
26
C = 60-65 pF, a=210, b=90

## Slide 27
Variant 5: Analysis
27
Kx = +381.6 dx = -4.1 mm, residual = 1.5%, Kz = +163.2 dz = 0.9 mm, residual = 3%

## Slide 28
Variant 11: Transfer functions
28
C = 60-65 pF, a=210, b=90

## Slide 29
Variant 11: Analysis
29
Kx = +427.6 dx = -6.1 mm, residual = 1.2%, Kz = +181.2 dz = 1.7 mm, residual = 1.3%

## Slide 30
Optimization summary & BPM model
30

## Slide 31
BD UI @ Control room (GSI => FAIR)
31
BPM and TUNE
SCREENS
BLM, DCT
FCT
SEM
courtesy: O. Chorniy, LOBI/GSI

## Slide 32
Schottky, CCC @ BD (GSI part)
32
courtesy: O. Chorniy, LOBI/GSI
The Schottky measurements concept
is split in two parts:
Broadband system for Schottky measurements of ions
Resonator based system for Schottky measurements of pbars
Broadband system
Resonator for longitudinal
Schottky meas.(S. Sanjari)
Example of CCC design @ GSI
Two dimensional schematic of the intended Cryostat and the vacuum chamberdesign

## Slide 33
Schottky system
Schematic circuit diagram of the signal chain
Pickup design
Transfer impedance calculations
Threshold intensities for ions
Required measurement time
for one spectrum
courtesy: O. Chorniy, LOBI/GSI

## Slide 34
Schottky detector types
  10x longitudinal “Arc Section Resonators”
  2 x longitudinal “Straight section variable Q”
  2x horizontal
  2x vertical
  1x longitudinal “tubular non-resonant”
Shahab Sanjari, 2015-05-21, Новосибирск.
Additionally
  2x calibration scraper
Drawing: I. Schurig
courtesy: S. Sanjari, ILIMA/GSI

## Slide 35
Reduced from 15 to 13 places
Latest arrangements:
Drawing: I. Schurig
Longitudinal
tubular
non-resonant
Longitudinal
Straight section
Variable Q
Longitudinal
Arc section
high Q
Horizontal,
Vertical,
Scrapers
(and Pocket detectors)

## Slide 36
Arc section resonators
Space models (dummy) provided
  Fixed sizes
  Detailed design ~ 2017 - 2018
Initial simulations
Pilot design for arc sections
  No ceramic gap
  Stainless steel no coating
  radius 35 cm, depth 10 cm
Mode | Freq. [MHz] | Qu | R/Q [ohm]
1 | 344 | 33787 | 82
2 | 477 | 41034 | ~ 0
Shahab Sanjari, 2015-05-21, Новосибирск.

## Slide 37
Horizontally senstive detectors
All previous designs based on Dipole mode
Our approach:
  Based on elliptical geometry
  Place of high dispersion
  Use of arc section chamber
Advantages over Dipole resonators
  Cope with large Beam pipe apertures
  Information the strong monopole mode
Mode | Freq. [MHz] | Qu | R/Q [ohm]
1 | 422 | 23381 | pos. dep.
2 | 509 | 25580 | ~ 0
Diameters:
40 x 120 cm
pipe: 17 cm
Depth: 10
Source: Phys. Scr. Special Issue 2014
Shahab Sanjari, 2015-05-21, Новосибирск.

## Slide 38
Present Design Approach
Impedance
  Circular vs Elliptical
Circular
Elliptical
Source: Phys. Scr. Special Issue 2014
Shahab Sanjari, 2015-05-21, Новосибирск.

## Slide 39
Bellow on Quad Chamber
CF200 Diagonal Schottky
CF200 Valve
CosyLAB Controller
Motors
Shahab Sanjari, 2015-11-17, Новосибирск.

## Slide 40
Conclusion
40
Beam diagnostic layout for CR is clear and fixed
Beam diagnostic give us possibilities to measure various beam parameters during different stages of operations
Many beam diagnostic elements are close to final design, but we have a number of topics to be done
We work together with GSI, FAIR colleagues on the different parts of BD and keep close connections

## Slide 41
Beam Diagnostic team @ BINP + GSI
41
Yu. Rogovsky, E. Bekhtenev
O. Meshkov, V. Parkhomchuk
M. Bryzgunov, M. Fedotov
I. Koop (phys)
A. Sukhanov, L. Schegolev (techn)
S. Sanjari, O. Chorniy, and colleagues from GSI LOBI group

## Slide 42
Thank you for your attention!
42
Yu. Rogovsky on behalf of BD BINP/GSI team 17.11.2015