## Slide 1: A DIRC-like Time-of-Flight Detector for the STCF Experiment
Ming Shao
On behalf of STCF DTOF group
University of Science and Technology of China
State Key Laboratory of Particle Detection and Electronics
Workshop on Future Super c- Factories 2021

## Slide 2: Outline
The DTOF detector in STCF experiment
  Introduction
  Conceptual design
  PID Performance
  Optimization
  Cosmic-ray test
Summary

## Slide 3: STCF Experiment
Main Tracker
xy<~130 um
p/p ~ 0.5% @ 1 GeV
dE/dx~6%
Inner Tracker
~0.15%X0 / layer
xy~50-100 um
PID
/K (K/p) 3-4 separation
Momentum 2GeV/c
EMC
Energy range: 0.02-3GeV
Resolution E (%)@1GeV
barrel: 2.5%
endcap: 4%
MUD
Low momentum ~0.5GeV
 suppression >30

## Slide 4: PID Requirements at STCF
Requirements for PID detector:
separation up to 2 GeV/c
Compactness（total thickness <20cm）
Low material budget（<0.3 ）
Radiation hard
High rate capability（）
Technology Choices:
dE/dx at low momentum (<0.8GeV/c)
TOF or Cherenkov detector? (0.8-2GeV/c)
Momentum range of final-state particles for STCF benchmark physics process
Options for STCF PID:
RICH (barrel); DIRC or DIRC-like (endcap)

## Slide 5
DIRC-like detector, first proposed for superB forward PID
Use time information, rather than Cherenkov angle , to identify particle
Very accurate timing property to achieve 3D (x, y, t) measurement, usually employing multi-anode MCP-PMT
Very compact and simple structure, highly robust and radiation resistive
Challenges：
  for single photon
  Very fine polished quartz surface（Ra<1nm）
DIRC-like Timing Detector
Baseline technology for STCF endcap PID detector
FTOF at superB:
Forward Time-of-Flight
DIRC – Detection of Internal Reflected Cherenkov Light
DIRC @ Babar achieved ~3𝜎 𝜋/𝐾 separation @4𝐺𝑒𝑉/𝑐

## Slide 6: Expected PID with DTOF
PID capability calculated by TOF information only (a naïve estimation)
Flight path ~ 1.5 m
Total time resolution below 50 ps to achieve K/pi separation better than 3 sigma.
The event start time (T0) may contribute ~ 40 ps, so an intrinsic DTOF time resolution of <30ps is needed

## Slide 7: DTOF Design
Combination of DIRC and TOF technologies
Simple, compact, fast and precision
Suitable for STCF（<2GeV）
Two discs, each consisting of 4 fan-shaped sectors
Polar angle coverage：22.1°-36.6°
Quartz radiator
Radius 570mm to 1040 mm
Thickness 15mm
Each sector readout by 54 multi-anode MCP-PMTs
Each MCP-PMT contains 4*4 readout pads (5.5mm * 5.5mm)
DIRC-like +TOF =DTOF

## Slide 8: DTOF in Geant4 Simulation
In all DTOF acceptance (2GeV/c ):
<Npe>~20
Overall
Intrinsic
separatin
(, , ps)
Time (ns)
Time – position hit pattern
Overall Time Resolution：
I
，
DTOF <Npe>@2GeV/c
𝜋
separation @2GeV/c
Time resolution @2GeV/c
: uncertainty of reconstructed time of propagation (TOP) in the radiator
pion

## Slide 9: TOF Reconstruction
Length of propagation (LOP) in the radiator
, not included

## Slide 10: π/K separation
peak2 and peak3：3.0σ
peak1 and peak3：4.1σ
peak2 and peak4：4.0σ
1
2
3
4

## Slide 11: π/K separation
Likelihood method :
π/K separation at p = 2 GeV/c

## Slide 12: Optimization of DTOF Shape
Design-A
4 sectors per disc
18×3 MCP-PMTs per sector
Design-B
12 sectors per disc
18 MCP-PMTs per sector
Design-C
24 sectors per disc
8 MCP-PMTs per sector

## Slide 13: DTOF Design with Mirror
Design-α
No mirror, absorber
Design-β
Mirror on top surface
Design-γ
Mirror with 45°chamfer

## Slide 14: Comparison – Shape/Mirror/Thickness
Aα15
Bα15
Cα15
θ=24°, φ=45°, p=2GeV,
pion
Aα15
Aα10
Aα20
Aβ15
Aα15
Aγ15

## Slide 15: Summary of DTOF Geometry Optimization
Thickness of radiator
Shape of radiator
Including of mirror
Configuration/Geometry ID | 0 | 1 | 2 | 3 | 4 | 5 | 6
Radiator shapes (sector number) | 4 | 12 | 24 | 4 | 4 | 4 | 4
Radiator thickness (mm) | 15 | 15 | 15 | 10 | 20 | 15 | 15
Outer side surface | A | A | A | A | A | M | 45° M
Inner side surface | A | A | A | A | A | A | A
Lateral side surface | M | M | M | M | M | M | M
Number of photoelectron for pions (except background) | 21.8 | 21.9 | 17.0 | 15.5 | 25.7 | 33.2 | 38.7
Accumulated charge density on MCP-PMT anode (C/cm2) | 10.8 | 10.5 | 9.6 | 8.8 | 11.8 | 17.0 | 25.6
π/K separation power | 4.17σ | 4.08σ | 3.66σ | 3.99σ | 4.27σ | 4.26σ | 4.19σ
Performance of DTOF with different configurations
Optimized DTOF structure

## Slide 16: DTOF Prototype – 1/3 sector
Radiator：
  Heraeus fused silica
  Surface roughness < 1 nm
6 MCP-PMT：
  R10754 (Hamamatsu)
Sealed in light-tight box
Readout electronics：
  4 FEE board：
    Each board 32 channel double-threshold TOT timing measurement
  1 data collection and control board
Readout electronics
Cosmic Ray
DTOF prototype assembly in clean room

## Slide 17: Cosmic-ray Test Stand
2*MicroMegas
2*MicroMegas
DTOF
T0
Trigger
Trigger
~200cm
Schematic diagram of the cosmic-ray test setup
Reference Time Detector (T0):
Similar to DTOF, a square quartz plate coupled with 4 MCP-PMT (single anode, R3809)

## Slide 18: Tracker Performance
Cosmic-ray (CR) track reconstruction：
4 layers of MicroMegas ()
0.4mm strip pitch (in total 384 X + 384 Y strips), 6-in-1 encoding readout (128 readout channel)
Processing: filter  decoding  alignment  reconstruction
  Spatial resolution <200um, efficiency ~90%
  Angular resolution <1mrad
Spatial Resolution and efficiency of 4 layers of Micromegas
CR direction
CR hits on T0
CR hits on DTOF

## Slide 19: T0 Performance
(raw)
correlation
reconstructed
corrected
T0 efficiency ~37%（8%@Npe2）
When ,
  = 24ps
Photons from background electrons

## Slide 20: DTOF Performance
（R=0）
<Npe> ~ 9
DT-T0 correlation increase with R
  Correlation negligible with R=0
DTOF intrinsic time resolution achieved <30ps@Npe9
 | <Npe> |  |  | 
MC | 12 | 23ps | 35ps@N=12 | 24ps@N=12
Exp. | 9 | 24ps | 35ps@N=9 | 26ps@N=9
 | <Npe> |  |  | 
MC | 12 | 23ps | 35ps@N=12 | 24ps@N=12
Exp. | 9 | 24ps | 35ps@N=9 | 26ps@N=9
R=0
R=1
R=2
(SPE)
FT = DT – T0
DT = T - TOP
R=1
R=2
No Reflected

## Slide 21: Summary
We illustrate the design of DTOF detector for the future STCF program.
The simulation tools are extensively used to study various aspects of the DTOF:
  Detector geometry and optimization
  Background effect
  PID algorithm and expected performance
A 1/3-size DTOF prototype was constructed and tested with cosmic-ray
  DTOF intrinsic time resolution reaches <30ps@Npe=9
Thank you !

## Slide 22
BACKUP SLIDES

## Slide 23: PID Requirements
Particle Identification (PID) of charged particles： /K (K/p) 3-4 separation, up to p= 2GeV/c

## Slide 24: Reconstruction Algorithm
Y
Z
T
H
X
Y

## Slide 25: Reconstruction Algorithm (cnt.)
，，
Solve:
  ，
Total reflection criteria:
X
Y
Z
x

## Slide 26: DTOF Simulation with Background
θ=24, φ=45, p=2GeV, pion
Assume PMT gain~106，10 years’ operation （50% duty time）
Background，12p.e. in 100ns  12C/cm2 accumulated anode charge
Signal，22p.e.@400K  0.8C/cm2 accumulated anode charge

## Slide 27: Likelihood Method with Background
Contribution from Npe is included in the likelihood
TOF distribution, gaussian fit
Np.e. distribution (bkg), crystalball fit
Np.e. distribution (signal+bkg), crystalball fit

## Slide 28: π/K Separation with Background
Without background，4.30 σ
With background，4.27 σ
With 3-time background，4.26 σ
Conclusion: PID capability not affected by background hits
No background
Simulated background
Simulated background*3

## Slide 29
DTOF Npe
T0 Npe
Energy of background electrons